HackAP Hackathon Power Distribution

Conducted by Alcove Partners, ā hub (AU Incubation Centre) and TiE Vizag

Conducted on Sunday, 24 November 2024

Registration ends at 9 PM, Wednesday, 13 November 2024

Deadline for uploading pitches will be: 9 PM, Saturday, 16 November

Registered teams are expected to submit a one-minute video of their solution and a presentation explaining their solution (pitch deck) as mentioned below.

Teams will see a link to submit their pitches and prototype videos on completion of this registration form.

Please add auincubation@gmail.com to your contacts to ensure delivery of all our communication

Note: Each team should have at least one team member or mentor with experience in or knowledge of electricity generation and distribution.

Our Problem Statement (4):

Accurate detection of Open Circuit faults during broken/ open conductor which poses a serious threat of electrocution to passersby human or animal and a potential fire hazard

Description:

The open circuit fault is when a conductor physically breaks and falls to the ground. The break in the conductor will usually result in either a drop in load on the affected feeder or possibly a momentary over-current condition as the falling conductor briefly comes in contact with a solidly grounded object. Once on the ground, the resulting electrical signature is very much a function of the contacted surface. Surfaces such as concrete, grass, dirt, and wet surfaces in general will result in an “arcing fault” with RMS fault currents in the range of 10 to 50 amps.

Open circuit faults are the faults that do not produce enough fault current to be detectable by conventional over current relays. The traditional protection is designed to protect the power system, open circuit fault protection is primarily focused on the protection of people and property.

The possible scenarios for open circuit fault are detailed below:

- A broken feeder conductor does not fall on the ground but remains suspended, resulting in no fault current at all (i.e. an open circuit fault)

- Conductor falls on a high resistivity ground surface (asphalt road, rocky terrain, etc.) causing a very low amount of fault current, due to which conventional earth fault relay at the substation end fails to trigger the circuit breaker at the substation.

Existing relays have the feature of detecting % unbalanced current (I2/ I1)                      crossing a predetermined threshold limit with some time delay (46BC).

But facing the following limitations:

- Unbalanced current detection feature doesn’t work for unbalanced loads

- More difficult with increase of prosumers feeding power into the grid

- APEPDCL existing feeder protection relays are of tier-2 brand make, which do not effectively act for 46BC feature.

Desired Outcomes:

Participants are expected to propose a cost-effective “Open Circuit” fault detection method/ provision for the existing low-end OEM make feeder relays in APEPDCL (Must work for unbalanced load situations, 2/3, 1/3 Agri-Supply)

Data Sets Provided:

- Existing OEMs relays

- Historical faults data

- Relay settings (Sample data)

THE PROJECT:

Project Name: ElecWatch

Team Name: ShockStop Squads

Roles of the team members:

Team lead – Charvi

Hardware Engineer – Prasanna

Research Analyst/Data Scientist – Chethan

Software/IoT Developer – Riya

Presentation Slides:

1. Title Slide

2. Problem Statement

3. Our Solution

4. Principle Concept

5. Tech Stack Used

6. Data Sets and Real-Time Visualization

7. Timeline (Oct 3rd to Nov 10th)

8. Market Analysis

9. Reviews and Reports

10. In-Person Meetings

11. Working Model

12. Project Deployment

13. Flowchart and Graphical Representation

14. Before and After

15. Product Development Stages

16. Versatility and Load Handling

17. Incidents and Financial Impact

18. Regulatory Approvals

19. Challenges Faced

20. Future Improvements

21. Conclusion

Presentation Slides in Detail:

Here’s a detailed structure for your presentation slides on the topic "Accurate Detection of Open Faults in Broken Conductors" incorporating all the points you mentioned. This structure covers technical aspects, project timelines, market insights, and challenges faced in a hackathon-friendly manner.

Slide 1: Title Slide

- Title: Accurate Detection of Open Faults in Broken Conductors

- Subtitle: Real-Time Fault Detection with IoT-based Smart Sensors

- Team Members: List all the contributors

- Visual: Power lines and smart sensors graphic

Slide 2: Problem Statement

- Title: The Problem

- Content:

  - Frequent power outages and hazards (fires, electrocution) due to broken conductors.

  - Delayed detection using traditional methods, leading to higher maintenance costs and risks.

- Visual: Image of power line faults or infographic showing the dangers of broken conductors.

Slide 3: Our Solution

- Title: The Solution – Real-Time Fault Detection

- Content:

  - IoT-powered sensors that monitor voltage and current to detect open faults in real time.

  - Reduces risks, speeds up detection, and improves power grid resilience.

- Visual: System architecture diagram showing how sensors communicate via IoT with the cloud and dashboard.

Slide 4: Principle Concept

- Title: Principle of Operation

- Content:

  - Sensors placed along power lines detect abnormal current/voltage levels.

  - Data transmitted to the cloud for processing.

  - Alerts generated in case of anomalies, notifying grid operators instantly.

- Visual: Flowchart showing sensor → cloud → processing → alert system.

Slide 5: Tech Stack Used

- Title: Technology Stack

- Content:

  - Hardware: ESP32 microcontrollers, ACS712 current sensor, ZMPT101B voltage sensor.

  - Software: Arduino IDE, Python, MQTT protocol, AWS IoT.

  - Frontend: Grafana dashboard for real-time visualization.

  - Database: Firebase/Google Firestore for sensor data storage.

- Visual: Icons or logos of key tech components (ESP32, AWS, MQTT, Grafana).

Slide 6: Data Sets and Real-Time Visualization

- Title: Data Collection and Visualization

- Content:

  - Data Set: Voltage and current readings under normal and fault conditions.

  - Visualization: Real-time data plots showing fault detection in action.

- Visual: Graphs of voltage/current vs. time showing how anomalies are detected (e.g., a Grafana dashboard).

Slide 7: Timeline (Oct 3rd to Nov 10th)

- Title: Project Timeline

- Content:

  - Key milestones: Ideation, component sourcing, prototype development, testing, and deployment.

  - Timeline: Oct 3rd – Ideation and hardware collection; Oct 10th – First prototype testing; Oct 20th – Real-time simulation; Nov 1st – Demo preparation; Nov 10th – Final hackathon.

- Visual: Gantt chart showing timeline from Oct 3rd to Nov 10th.

Slide 8: Market Analysis

- Title: Industry Need and Market Impact

- Content:

  - Data on outages, electrocutions, and economic losses due to broken conductors.

  - Emphasize the growing market for smart power grid solutions, especially in developing regions.

- Visual: Bar chart or infographic showing financial losses and accident rates due to broken conductors.

Slide 9: Reviews and Reports

- Title: Feedback and Mentorship

- Content:

  - Mentor reviews from faculty and professionals in the power distribution sector.

  - Key Takeaways: Practicality, challenges to be addressed, and real-world feasibility.

- Visual: Testimonials or feedback quotes from mentors.

Slide 10: In-Person Meetings

- Title: Field Insights

- Content:

  - Meetings with Eastern Power Distribution employees to gather insights on the current system and their feedback on IoT-based monitoring solutions.

- Visual: Photos of meetings, or key quotes from conversations.

Slide 11: Working Model

- Title: Prototype and Working Model

- Content:

  - Prototype demo of the IoT system detecting a fault in real-time.

  - How it works with real-world testing scenarios.

- Visual: Video clip or images of the working prototype.

Slide 12: Project Deployment

- Title: Project Deployment Strategy

- Content:

  - Steps to deploy the system in the real-world grid.

  - Integration with existing grid infrastructure.

- Visual: Deployment flowchart or image of how sensors would be deployed on actual power lines.

Slide 13: Flowchart and Graphical Representation

- Title: System Flow and Architecture

- Content:

  - Flowchart showing the end-to-end data flow: sensors → microcontroller → cloud → dashboard → alerts.

  - Graphical overview of sensor data and fault detection thresholds.

- Visual: Flowchart diagram and real-time sensor data graph.

Slide 14: Before and After

- Title: Impact of the Solution

- Content:

  - Before: Manual inspections and slow detection of faults.

  - After: Real-time detection, instant alerts, reduced downtime, and fewer accidents.

- Visual: Side-by-side comparison graphic showing the before and after scenarios.

Slide 15: Product Development Stages

- Title: Stages of Product Development

- Content:

  - Stage 1: Basic fault detection with low-cost sensors, ~60% hazard prevention.

  - Stage 2: Enhanced version with better load handling, ~80% hazard prevention.

  - Stage 3: Full deployment, scalable, ~90% prevention and safety assurance.

- Visual: Development timeline with percentages of improvement and key features of each stage.

Slide 16: Versatility and Load Handling

- Title: Versatility and Robustness

- Content:

  - The system’s ability to handle various load types and detect faults in unbalanced loads.

- Visual: Diagram showing how the system adapts to different load conditions.

Slide 17: Incidents and Financial Impact

- Title: Financial Losses and Safety Hazards

- Content:

  - Data on the number of incidents and financial losses due to conductor faults and electrocutions.

- Visual: Graph showing the correlation between incidents and the need for better detection systems.

Slide 18: Regulatory Approvals

- Title: Compliance and Approvals

- Content:

  - Regulatory requirements for deployment in the utility sector (e.g., IEEE standards, safety approvals).

- Visual: Compliance logos or regulatory steps for deployment.

Slide 19: Challenges Faced

- Title: Challenges and Solutions

- Content:

  - Technical Challenges: Sensor calibration, false positives, communication reliability.

  - Logistical Challenges: Component delays, testing in real-world environments.

  - How we overcame these challenges: Adjusting thresholds, improving communication protocols.

- Visual: List of challenges with icons for each, plus solutions.

Slide 20: Future Improvements

- Title: Future Roadmap

- Content:

  - Planned Upgrades: Integrating machine learning for predictive maintenance, better data analytics, and cost optimization.

  - Expansion: Scaling the solution to larger grids and industrial applications.

- Visual: Roadmap graphic showing next steps for version improvements.

Slide 21: Conclusion

- Title: Conclusion and Call to Action

- Content:

  - Summary of the benefits: improved safety, real-time fault detection, cost savings.

  - The potential for large-scale adoption and impact on the power grid industry.

- Visual: Key takeaways with icons or images of the final prototype in action.

Design Tips for the Presentation:

- Keep it visually clean: Use consistent colors and fonts throughout the presentation.

- Use high-quality visuals: Diagrams, icons, and real-time graphs will make the technical information more digestible.

- Minimize text: Keep bullet points short, and emphasize visuals such as flowcharts and screenshots.

- Videos: Embed short demo clips or simulations to show the system in action (especially for Slide 11).

TIMELINE:

(Just a rough timeline, we will modify later based on our convenience)

| Date | Day/Week | Tasks/Activities | Deliverables |
| --- | --- | --- | --- |
| Oct 3–Oct 9 | Week 1: Planning and Hardware Setup (Days 1–7) |  |  |
| Oct 3–4 | Day 1–2 | - Project planning and team discussion - Define scope, roles, and system architecture | Clear roles, timeline, and architecture |
| Oct 5–6 | Day 3–4 | - Research and procure hardware components (sensors, microcontroller, etc.) | All hardware components ready for development |
| Oct 7–9 | Day 5–7 | - Hardware setup (sensors) and sensor calibration - Initial code to test sensor readings | Calibrated sensors, basic code for data collection |
| Oct 10–Oct 16 | Week 2: Firmware Development (Days 8–14) |  |  |
| Oct 10–11 | Day 8–9 | - Write firmware for ESP32 - Implement logic for monitoring current/voltage and detecting faults | ESP32 can detect faults and log sensor readings |
| Oct 12–13 | Day 10–11 | - Implement communication protocols (MQTT, HTTP) - Test data transmission to cloud/local server | Functional communication between ESP32 and cloud |
| Oct 14–15 | Day 12–13 | - Refine fault detection logic - Include error handling and edge cases | Optimized code for fault detection and transmission |
| Oct 16 | Day 14 | - Mid-week testing of sensor and communication setup | Working sensor-communication system |
| Oct 17–Oct 23 | Week 3: Cloud Integration and Data Storage (Days 15–21) |  |  |
| Oct 17–19 | Day 15–17 | - Cloud infrastructure setup (AWS, Google IoT, etc.) - Set up MQTT/HTTP topics - Set up data storage in the cloud | Cloud infrastructure for real-time data storage |
| Oct 20–21 | Day 18–19 | - Implement data processing and validation on cloud - Set up alerts (SMS, email) | Cloud-side data processing and alert system |
| Oct 22–23 | Day 20–21 | - Test cloud integration and real-time alerting | End-to-end system with cloud integration |
| Oct 24–Oct 30 | Week 4: Dashboard and Visualization (Days 22–28) |  |  |
| Oct 24–25 | Day 22–23 | - Initial dashboard design (choose platform: Grafana, ThingSpeak, etc.) | Dashboard layout ready |
| Oct 26–28 | Day 24–26 | - Implement real-time data visualization - Display current and voltage graphs - Visualize fault detection alerts | Functional dashboard with real-time updates |
| Oct 29–30 | Day 27–28 | - Test dashboard with simulated data - Optimize the UI | Tested, user-friendly dashboard |
| Oct 31–Nov 6 | Week 5: Testing and Debugging (Days 29–35) |  |  |
| Oct 31–Nov 2 | Day 29–31 | - Comprehensive end-to-end system testing (various fault scenarios, sensor disconnection, etc.) | Fully tested system |
| Nov 3–4 | Day 32–33 | - Debugging and issue resolution (e.g., unstable communication, false fault detection) | Debugged system |
| Nov 5–6 | Day 34–35 | - Final optimization (data transmission frequency, fault detection performance) | Fully optimized system |
| Nov 7–Nov 11 | Week 6: Final Integration, Enhancements & Presentation (Days 36–40) |  |  |
| Nov 7–8 | Day 36–37 | - Final integration of all components - Review codebase and documentation | Fully integrated system |
| Nov 9–10 | Day 38–39 | - Add optional features (GPS tracking, improved alerting system) | Final system with optional features |
| Nov 11 | Day 40 | - Prepare demo and presentation for hackathon - Final test and polishing | Final demo and presentation ready |